## Slide 1: A Centralized Storage Model for Distributed Solar Generation System
Department of Electrical Engineering
Georgia Southern University
Ananya Nag
Advisor: Dr. Rami Haddad
Optical Networks & Smart Grid Lab.

## Slide 2: Outline
Objectives
Motivation
Centralized vs. Decentralized System
Proposed Approach
Conclusion

## Slide 3
To use the solar power in the most optimal way.
To employ a centralized and decentralized storage system for distributed PV.
To make a comparison of the grid power dependency between centralized and decentralized storage PV systems.
Objectives

## Slide 4
Motivation

## Slide 5
The growing demand for solar power
    One of the most valuable source
    electrical energy production
Unavailability
    During night
    Bad weather conditions
Battery storage
    To store surplus solar power
    Back-up power during unavailability of sunlight
Motivation

## Slide 6
Distributed Vs. Centralized System
Model for decentralized storage
Model for centralized storage

## Slide 7
The expected output power of any solar panel is
    )]
    The value of is 0.0025
Modeling of PV Module

## Slide 8
Lead-acid battery
Charging mode
State of charge of the battery:
Battery Current
Modeling of Storage Device

## Slide 9
Discharging mode, Battery current
State of charge of the battery:
Modeling of Storage Device

## Slide 10
Hourly load profiles from sixty different locations have been obtained over a year.
Solar irradiation and temperature data.
The variations of the load profiles at every hour is quiet different from place to place.
All the load profiles can be considered as a single load data.
Experimental Setup

## Slide 11
Hourly Load Profile
Annual hourly load profile for Abilene residential house (loc# 2)
Annual hourly load profile for San Antonio-Stinson residential house (loc# 27)

## Slide 12
Average Load For Individual Area
Average Load for every individual area over a year

## Slide 13
Grid Power Consumption
Total number of batteries are 900
Total grid power dependency over a year is 509.06 kW (Centralized storage model)
Total grid power dependency over a year is 611.93 kW (Decentralized storage model)
Saving in grid dependency between the two model is 102.87 kW (16.8%).

## Slide 14
Average Hourly Centralized Load Power
Coefficient of variability for the centralized system aggregated load profile is 0.417

## Slide 15
Load Coefficient of Variability
Coefficient of variability values ranges from 0.47 to 0.83 with an average of 0.61
COV==

## Slide 16
Grid-Dependency and the battery number

## Slide 17
In this study, we proposed a photovoltaic system with a centralized storage.
The model is able to reduce the dependency on grid power.
A case study was implemented using 60 different residential housing locations in the State of Texas.
The centralized solar storage system reduced the dependency on the grid power by 16.8% compared to the decentralized system.
Conclusion

## Slide 18: Thank you. Any Questions?